# Keoka Lake Association

Waterford, ME

# Keoka Lake Dam – Water Control Plan

# Adopted 06-23-2000, Updated 07-28-2001, 09-08-2004, 05/31/2011, 05/22/2015

I.	General Objectives

The authorized purposes of the Keoka Lake Dam are to maintain proper water levels to support fire protection, provide flood control, encourage fish and wildlife populations and insure water quality and recreation benefits.  The operational objective of the Keoka Lake Dam will be to maximize the benefits of these authorized purposes.  This water control management plan has been developed for the Keoka Lake Dam to conform with the objectives and specific provisions of its authorizing authorities.

II.	Standing Instructions to the Project Operator

- Check the gate periodically and remove any accumulated debris.

- In the spring on the weekend following ice-out, fully open the gate and flush out debris.  Set the gate level as needed to maintain the summer lake level of 6” to 12” below the spillway.

- The first weekend in October, fully open the gate and flush out debris.  Set the gate level as needed to maintain the winter lake level at approximately 24” below the spillway level.

- Adjust the gate level as necessary based on weather conditions to maintain a minimum downstream flow and approximate average seasonal levels as discussed above, while not causing excessive level fluctuations in Bear Pond.

III.	Flood Control

Under flood conditions, the water management objective of the Keoka Lake Dam is to pass all inflow through the dam while minimizing flooding downstream.  Notify the Bear Pond Dam Keeper (Camp Wigwam at 583-2300) and the Waterford Emergency Management Agency Director, Bill Haynes at 583-2963 or 743-1010 (cell) when passing unusually large flows.

- Dam Structure Contact Information

Andy Tabor

33 Littlejohn Road

Cape Elizabeth, ME 04107-1805

207-767-3789 (home)

207-838-9909 (mobile)

207-883-7363 (work)

email: andy@focusedonyou.biz